## Outline
*The following figures represent the total quantity of components in the 2-3F EWSUP. They do not, however, reflect the salvage determination for those components. Actual Count will be determined based on reconditioning status by the OEM and SECAI
Item | Type | Manufacture | Specific | Count | Type of Unit | Estimated Cost | Salvage Value | Remark
SEL Relay | SEL-411L | Schweitzer Engineering Laboratories | 0411L0X4X5C6HHX34D4XXXX | 36
| SEL-451 | Schweitzer Engineering Laboratories | 04515415XC1X43244XXXX,60HZ | 30
| SEL-751 | Schweitzer Engineering Laboratories | 751201A1A1A70850680 | 417
| SEL-751 | Schweitzer Engineering Laboratories | 751201A1A1A70851680 | 1038
| SEL-751 | Schweitzer Engineering Laboratories | 751001A1A1A77851680 | 21
| SEL-787 | Schweitzer Engineering Laboratories | 07872EE1A1A1A79850680 | 30
| SEL-735 | Schweitzer Engineering Laboratories | 0735BX20944CXXXXXX16101XX | 12
| SEL-735 | Schweitzer Engineering Laboratories | 0735BX00944CXXXXXX16101XX | 90
| SEL-2414 | Schweitzer Engineering Laboratories | 241421A1A910X0X0600 | 255
| SEL-700G | Schweitzer Engineering Laboratories | N/A | 0
| Subtotal |  |  | 1929
ACB | 4000A | LS Electric | UAH-40G3-40A M3D3D3HX SS1U0ALB UL | 388
| 3200A | LS Electric | UAH-32G3-32A M3D3D3HX SS1U0ALB UL | 57
| 2500A | LS Electric | UAH-25E3-25A M3D3D3HX SS1U0ALB UL | 8
| 2000A | LS Electric | UAH-20E3-20A M3D3D3HX SS1U0ALB UL | 72
| 2000A | LS Electric | UAH-20E4-20A M3D3D3HX SS1U0ALB UL | 22
| Subtotal |  |  | 547
MCCB | 800A | LS Electric | UTS800LT NG0 800A 3P LO UL | 886
| 630A | LS Electric | UTS800LT NG0 630A 3P LO UL | 2
| 600A | LS Electric | UTS800LT NG0 600A 3P LO UL | 283
| 400A | LS Electric | UTS800LT NG0 400A 3P LO UL | 6
| 400A | LS Electric | UTS400L ETM33 400A 3P LO UL | 267
| 250A | LS Electric | UTS400L ETM33 250A 3P LO UL | 13
| 250A | LS Electric | UTS250L ETS23 LSI 250A 3P LO UL | 75
| 150A | LS Electric | UTS250L ETS23 LSI 150A 3P LO UL | 6
| 150A | LS Electric | UTS150L ETS23 LSI 150A 3P LO UL | 15
| 100A | LS Electric | UTS150L ETS23 LSI 100A 3P LO UL | 86
| Subtotal |  |  | 1639
HRG |  | LS Electric | HRG- 1f11SA09 | 84 |  |  |  | DMPi : DMP06i-SB-A12
Transformer (TR) |  | LS Electric |  | 231 |  |  |  | SEL Relay : SEL-2414 DAU : SD DAU V2
MTS |  | Spike | MTS 1F11MGAQ | 18 |  |  |  | SEL Relay : SEL-700GT
|  | ABB | AMVACTM 15kV/1200A/50kA | 12 |  |  |  | Whole or Part
REC |  | Sens | REC 1F11MGA01-Bo4 | 7 |  |  |  | SENS EnerGenius DC 56kW: Whole or Power Module
UPS |  | Fuji | UPS 7000HXT3U/225 / HPM9475UM003 | 90 |  |  |  | 7000HX-T3U (500kVA): Change Whole
UPS |  | Mitsubishi | UPS 500 KVA 3@ 3 Wire / UPS9933B-A504DU-4 | 65 |  |  |  | 9900B (500kVA): Change Whole
MCC |  | Schneider (Square D) | MTC-AH152101F1 | 22 |  |  |  | MODEL 6 Motor Control Center: Whole or Part
Panel Board |  | Eaton | PDG3 Panel | 19 |  |  |  | Whole or Part
Panel Board |  | Schneider | NQ Panel | 14 |  |  |  | Whole or Part
DC Breaker |  | Schneider (Square D) | LLL47120D42AAU0YQ / LL1200 Square D | 155 |  |  |  | Whole
VFD |  | Mitsubishi | VFD1F116FHPWP/ CC Link A800-E M232170 | 33 |  |  |  | Whole
Total |  |  |  | 4865
SWG (MV, TR, LV, HRG, MTS, Rectifier) Count
1. MV Switchgear | 201
2. LV Switchgear | 989
3. Transformer | 253
5. HRG | 102
6. Rectifier | 42
Total | 1587
Other Gears
DC Breaker | 155
MCC | 22
VFD | 33
UPS | 155
Total | 365
*The following figures represent the total quantity of components in the 2-3F EWSUP. They do not, however, reflect the salvage determination for those components. Actual Count will be determined based on reconditioning status by the OEM and SECAI

## Summary
Item | Count | SWG (MV, TR, LV, HRG, MTS, Rectifier) Count |  | Other Gears
SEL Relay | 1929 | 1. MV Switchgear | 201 | DC Breaker | 155
ACB | 547 | 2. LV Switchgear | 989 | MCC | 22
MCCB | 1639 | 3. Transformer | 253 | VFD | 33
HRG | 84 | 5. HRG | 102 | UPS | 155
Transformer (TR) | 231 | 6. Rectifier | 42 | Total | 365
MTS | 30 | Total | 1587
REC | 7
UPS | 155
MCC | 22
Panel Board | 33
DC Breaker | 155
VFD | 33
Total | 4865